## Sheet1
Variable | Reclaim Water Flow % of Plant Influent | Reclaim Water Flow | Finished Water TOC | Finished Water Alkalinity | Finished Water pH | Filter Average UFRV | Filter Average Run Time | Combined Filter Effluent Turbidity | Settled Water Turbidity | Raw Water Temperature | Raw Water TOC | Raw Water Alkalinity | Raw Water pH | Raw Water Turbidity | Plant Influent Flow | Catfloc 8103+ Dose | Aluminum Sulfate Dose | Streaming Current
Location | Solids Handling | Solids Handling | Clearwell | Clearwell | Clearwell | Filters | Filters | Filters | Clarifiers | Raw Water | Raw Water | Raw Water | Raw Water | Raw Water | Raw Water | Rapid Mix | Rapid Max | Rapid Max